## Correction Log
Bartter Enterprises Pty Limited
Hawthorne St, Beresfield NSW 2322
EPL: 1329
CORRECTION LOG
| Sample Date/time | Original result | Corrected Result | Date corrected | Date originally published | Reason
| Reporting period 2011-2012 Lowest sample result | Ammonia - 68.8 Nitrogen - 104 Phosphorus - 21.2 | Ammonia - 39.3 Nitrogen - 83.5 Phosphorus - 17.8 | 2012-07-24 | 2012-06-29 | Calculation error
| Reporting period 2011-2012 Mean sample result | Ammonia - 101.1 Nitrogen - 136.5 BOD - 17 TSS - 44.5 | Ammonia - 101.4 Nitrogen - 135.9 BOD - 16.5 TSS - 43.5 | 2012-07-24 | 2012-06-29 | Calculation error
| Reporting Period 2015-2016. May 2016. Mean | Nitrogen Ammonia: 200.2 Total N: 190 TSS: 48.8 | Nitrogen Ammonia: 199.4 Total N: 191.0 TSS: 48.1 | 2016-07-11 | 2016-06-08 | Data entry error
| Reporting Period 2015-2016. May 2016. 90 Percentile Concentration | TSS: 84 | TSS: 81.5 | 2016-07-11 | 2016-06-08 | Data entry error
| Reporting Period 2015-2016. May 2016. Temperature | Temp: 19.9 | Temp: 20.1 | 2016-07-11 | 2016-06-08 | Data entry error
| Reporting Period 2015-2016. May 2016. Summary Table | Nitrogen Ammonia (Mean): 199.4 Nitrogen Ammonia (Highest): 820 Nitrogen: 190.5 pH (Lowest): 7.4 pH (Highest): 8 TSS: (Mean): 48.1 BOD (90%): 47.5 TSS (90%): 81.5 Temp (Mean): 20.1 | Nitrogen Ammonia (Mean): 175 Nitrogen Ammonia (Highest): 207 Nitrogen: 191 pH (Lowest: 7.41 pH (Highest): 8.04 TSS: (Mean): 48 BOD (90%): 48 TSS (90%): 80 Temp (Mean): 20 | 2016-08-18 | 2016-07-11 | Clerical error